Inquiry Sheet for IR200 Infrared Gas Analyzer

Place a checkmark "X" in the appropriate box and fill in the specific information in the blanks for your reference.

1.	General Information

Company                  :                                                          	Delivery destination      :

Responsible person :                                                          	  Section                       :	   (Phone No.

Plant name               :                                                          	Measurement location :

Purpose                    : □ Indication reading, □ Recording, □ Telemeter transmission, □ Alarm, □ Control, □ Other

2.	Requirements

Measurable component:                                                                     □O2 Analyzer:

□SO2                                                                                            □Not available

□CO	□External zirconia type sensor (use ZX8D Style C)

□CO2                                                                                           □External O2 Analyzer

□CH4                                                                                           □Built-in paramagnetic type O2 Sensor

□CO2 + CO

□CH4 + CO

□CO2 + CH4

□CO2 + CO + CH4

Range:

1st component, 1st range      1st component, 2nd range        2nd component, 1st range      2nd component, 2nd range

□0 - 200 ppm                        □0 - 500 ppm	□0 - 500ppm                          □ 0 - 1000 ppm

□0 - 500 ppm                        □0 - 1000 ppm	□0 - 1000 ppm                       □ 0 - 2000 ppm

□0 - 1000 ppm                      □0 - 2000 ppm                                      □0 - 2000 ppm                      □0 - 2500 ppm

□0 - 2000 ppm                      □0 - 2500 ppm                                      □0 - 2500 ppm                      □0 - 5000 ppm

□0 - 2500 ppm                     □0 - 5000 ppm                                      □0 - 5000 ppm                       □ 0 - 1%

□0 - 5000 ppm                     □ 0 - 1%                                                □ 0 - 1%                                □0 - 2%

□0 - 1%                               □0 - 2%                                                  □0 - 2%                                 □0 - 5%
             □0 - 2%                               □0 - 5%                                                  □0 - 3%                                 □0 - 10%
             □0 - 3%                               □ 0 - 10%                                               □0 - 5%                                 □0 - 20%
             □0 - 5%                              □0 - 20%                                                □0 - 10%                               □0 - 25%
             □0 - 10%                            □0 - 25%                                                □0 - 20%                               □0 - 50%
             □0 - 20%                            □0 - 50%                                                □0 - 25%                               □0 - 100%
             □0 - 25%                            □0 - 100%                                              □0 - 40%                               □ Not available
             □0 - 40%                            □ Not available                                       □0 - 50%

□0 - 50%                                                                                           □0 - 70%

□0 - 70%                                                                                           □0 - 100%

□0 - 100%                                                                                         □ Not available

3rd component, 1st range                    3rd component, 2nd range            O2 Analyzer, 1st range                 O2 Analyzer, 2nd range

□0 - 500 ppm                                         □0 - 1000 ppm                                       □0 – 5%                                      □0 – 10%

□0 - 1000 ppm                                       □0 - 2000 ppm                                       □0 – 10%                                    □0 – 25%

□0 - 2000 ppm                                       □0 – 2500 ppm                                      □0 – 25%                                    □0 – 50%

□0 - 2500 ppm                                       □0 – 5000 ppm                                      □0 – 50%                                    □Not available

□0 - 5000 ppm                                       □0 – 1%                                                 □0 – 100%

□ 0 - 1%                                                 □0 – 2%                                                 □Not available

□0 - 2%                                                  □0 – 5%

□0 - 3%                                                  □0 – 10%

□0 - 5%                                                  □0 – 20%

□0 - 10%                                                □0 – 25%

□0 - 20%                                                □0 – 50%

□0 - 25%                                                □0 – 100%

□0 - 40%                                                □Not available

□0 - 50%

□0 - 70%

□0 - 100%

□Not available

Output	: □ 4 - 20 m A DC      □ DC 0 - 1 V

O2 Correction and O2 Average  : □ Yes	□ No

Peak count alarm	: □ Yes	□ No

□ RS-232C

3.   Sample gas

Fuel

:  □ Gas, □ Oil, □ Coal, □ Refuse, □ Other fuel

- Temperature  :               to

- Pressure                        to

- Humidity

- Dust

- Corrosive gas:   □ Yes             No

, Normal temperature

, Normal pressure

[vol%]

[mg/Nm3]

[°C]

[MPa]

Composition (It is important, and fill in a detailed composition from the meaning which knows the influence of the interference gas, please.)

|  |  | % |  |
| --- | --- | --- | --- |
| Contents | Concentration range | % | ppm |
| CO | To |  |  |
| CO2 | To |  |  |
| CH4 | To |  |  |
| H2 | To |  |  |
| O2 | To |  |  |
| N2 | To |  |  |
| SO2 | To |  |  |
| H2O | To |  |  |

All Rights Reserved. Copyright © 2002, Yokogawa Electric Corporation

Subject to change without notice.

GS 11G02M01-01E

3rd Edition Nov.25, 2004-00